SECTION 260503 – REQUIRED SHOP DRAWINGS, LITERATURE, MANUALS, PARTS LISTS, AND SPECIAL TOOLS

- SHOP DRAWINGS

  - Each Contractor shall submit to the Architect and/or Engineer, within thirty days after the date of the Contract, seven sets of shop drawings and/or manufacturer's descriptive literature on all equipment required for the fulfillment of his contract.  Each shop drawing and/or manufacturer's descriptive literature shall have proper notation indicated on it and shall be clearly referenced so the specifications, schedules, light fixture numbers, panel names and numbers, etc., so that the Architect and/or Engineer may readily determine the particular item the Contractor proposes to furnish.  All data and information scheduled, noted or specified by hand shall be noted in color red on the submittals.  The Contractor shall make any corrections or changes required and shall resubmit for final review as requested.  Review of such drawings, descriptive literature and/or schedules shall not relieve the Contractor from responsibility for deviation from drawings or specifications unless they have, in writing, directed the reviewer's attention to such deviations at the time of submission of drawings, literature and manuals; nor shall it relieve them from responsibility for errors or omissions of any nature in shop drawings, literature and manuals.  The term "as specified" will not be accepted.

  - If the Contractor fails to comply with the requirements set forth above, the Architect and/or Engineer shall have the option of selecting any or all items listed in the specifications or on the drawings, and the Contractor will be required to provide all materials in accordance with this list.

  - Review of shop drawings by the Engineer applies only to conformance with the design concept of the project and general compliance with the information given in the contract documents.  In all cases, the installing Contractor alone shall be responsible for furnishing the proper quantity of equipment and/or materials required, for seeing that all equipment fits the available space in a satisfactory manner and that piping, electrical and all other connections are suitably located.

  - The Engineer's review of shop drawings, schedules or other required submittal data shall not relieve the Contractor from responsibility for the adaptability of the equipment or materials to the project, compliance with applicable codes, rules, regulations, information that pertains to fabrication and installation, dimensions and quantities, electrical characteristics, and coordination of the work with all other trades involved in this project.

  - No cutting, fitting, rough-in, connections, etc., shall be accomplished until reviewed equipment shop drawings are in the hands of the Contractors concerned.  It shall be each Contractor's responsibility to obtain reviewed shop drawings and to make all connections, etc. in the neatest and most workmanlike manner possible.  Each Contractor shall coordinate with all the other Contractors having any connections, roughing-in, etc., to the equipment, to make certain proper fit, space coordination, voltage and phase relationships are accomplished.

  - In accord with the provisions specified hereinbefore, shop drawings, descriptive literature and schedules shall be submitted on each of the following indicated items as well as any equipment or systems deemed necessary by the Engineer:

Power Equipment

- Fault current and arc flash studies (submit along with switchgear &   panelboards).

- Switchgear and panelboards.

- Circuit breakers or fusible switches, per each type.

- Power and lighting contactors.

- Disconnect switches.

- Fuses, per each type required.

- Magnetic starters, if not submitted with unit equipment by supplier.

- Control components (relays, timers, selector switches, pilots, etc.)

- Building service grounding electrode components.

- Metering devices.

- Lightning protection system.

- Transient voltage surge suppression system.

- Grounding system.

Raceways

- Cable tray and each type of cable tray fitting.

- Wireways and each type of wireway fitting.

- Surface-mounted metal or plastic raceways, with each type of fitting.

- J-hook or Bridle ring assemblies.

Devices

- Each type of wiring device and their coverplates.

- Floor boxes and poke-thru fittings, each by type, with required accessories.

- Data/voice/video wallplates, each by type.

- Any special items not listed above.

Lighting

- Light fixtures, each by type, marked to indicate all required accessories and lamp selection.  Also provide original color selection chart to allow Architect and/or Engineer to indicate color selection.

- Lamps, each by type.

- Ballast, each by type.

- Lighting standards or poles.

- Photocells, time clocks or other lighting accessories.

- Lighting control system schematic, functional & programming data, along with building specific floor plan drawings indicating each device, master controller, input device locations and specific interconnect/wiring requirements for each device.

Systems

Note:  Each system submittal is to be complete with legible cutsheets for all devices, equipment, special wiring, etc.  Include system specific wiring schematics showing each device and its specific interconnect/wiring requirements.  For rack mounted equipment, provide a scalable elevation drawing with proposed component locations & specific interconnect wiring requirements for each component/panel.  Also provide scale building specific layout drawings that indicate device placement, wiring, etc.  Refer to the specific system's specification for additional submittal requirements where required.

- Fire alarm system.

- Closed circuit television security system.

- Intrusion detection and access control system.

- Telephone system.

- Video system.

- Data network.

Miscellaneous

- Control panel assemblies.

- Non-standard junction/pullboxes.

- Manholes, hand holes, and all outdoor electrical equipment and fittings.

- SPECIAL WRENCHES, TOOLS AND KEYS

  - Each Contractor shall provide, along with the equipment provided, any special wrenches or tools necessary to dismantle or service equipment or appliances installed by him.  Wrenches shall include necessary keys, handles and operators for valves, switches, breakers, etc. and keys to electrical panels, emergency generators, alarm pull boxes and panels, etc.  At least two of any such special wrench, keys, etc. shall be turned over to the Architect prior to completion of the project.  Obtain a receipt that this has been accomplished and forward a copy to the Engineer.

- FIRE ALARM SHOP DRAWINGS

  - The Contractor and equipment supplier shall submit to the Architect and/or Engineer, fire alarm system shop drawings complete with catalog cuts, descriptive literature and complete system wiring diagrams for their review prior to the Contractor’s submittal to the Commonwealth's Department of Housing, Buildings and Construction or other governing authority for their review.  No work shall be done until drawings are approved by the Kentucky Department of Housing, Buildings and Construction.

- MAINTENANCE AND OPERATION MANUALS

  - Upon substantial completion of the project, the Contractor shall deliver to the Engineers (in addition to the required Shop Drawings) three complete copies of operation and maintenance instructions and parts lists for all equipment provided.  Formatting and content shall follow the guidelines outlined in the latest version of ASHRAE Application Handbook, Guideline 4. As a minimum, the following shall be included:

- The operation and maintenance document directory should provide easy access and be well organized and clearly identified.

- Emergency information should be immediately available during emergencies and should include emergency and staff and/or agency notification procedures.

- The operating manual should contain the following information:

- General Information

      - Building function

      - Building description

      - Operating standards and logs

- Technical Information

  - System description

  - Operating routines and procedures

  - Seasonal start-up and shutdown

  - Special procedures

  - Basic troubleshooting

    - The maintenance manual should contain the following information:

- Equipment data sheets

  - Operating and nameplate data

  - Warranty

- Maintenance program information

  - Manufacturer’s installation, operation, and maintenance instructions

  - Spare parts information

  - Preventive maintenance actions

  - Schedule of actions

  - Action description

  - History

    - Test reports document observed performance during start-up and commissioning.

END OF REQUIRED SHOP DRAWINGS