SECTION 260502 - SCOPE OF THE ELECTRICAL WORK

- GENERAL

Each Electrical Contractor's attention is directed to Section 260501 - General Provisions, Electrical, and all other Contract Documents as they apply to his work.

Refer to Division 27 Specifications for the scope of communications work.

Refer to Division 28 Specifications for the scope of electronic safety and security work.

- SCOPE OF THE ELECTRICAL WORK

The Electrical work for this project includes all labor, materials, equipment, fixtures, excavation, backfill and related items required to completely install, test, verify place in service and deliver to the Owner complete electrical systems in accordance with the accompanying plans and all provisions of these specifications.  This work shall primarily include, but is not limited to the following:

  - All conduits, conductors, outlet boxes, fittings, etc.

  - All switchgear, panels, disconnect switches, fuses, low voltage transformers, contactors, starters, etc.

  - All wiring devices and device plates.

  - All light fixtures, lamps and controls.

  - Electrical connection to all electrically operated equipment furnished and/or installed by others, including powered casework, kitchen equipment, etc.

  - Access Control system.

  - Modifications to the existing lightning protection system.

  - Voice/Data/CATV system.

  - Fire alarm system.

  - CCTV system. (Bid Alternate)

  - All necessary coordination with utilities, and Owner’s telecommunications personnel to insure that work, connections, etc., that they are to provide is accomplished and that service to this facility is delivered complete prior to occupancy.

  - Payment of all fees to electric utility for installation of service.

END OF SCOPE OF THE ELECTRICAL WORK