SECTION 231100 - REGISTERS, GRILLES, DIFFUSERS & LOUVERS

- REGISTERS, GRILLES AND DIFFUSERS

  - GENERAL

Alternate R, G & D selections, other than manufacturers and models listed below, will be accepted, provided quality, function and characteristics are equivalent.  Acceptable alternates are Price,Titus, Metalaire, Carnes, Anemostat, Kruegar, and Tuttle & Bailey.  Shop drawings shall identify and list all characteristics of each device exactly as scheduled herein.  Finishes shall be selected by the Architect.  If Architect elects not to select color, all colors shall be off-white.  Factory color samples shall be submitted with shop drawings.

  - SELECTION

Refer to the Selections Scheduled on the Drawings.

2.	LOUVERS

- GENERAL

Alternate louver selections, other than manufacturer and model listed below, will be accepted, provided quality, function and characteristics are equivalent.  Acceptable alternates are Ruskin, Air Balance, Airline, Airstream, Louvers and Dampers and Penn.  Shop drawings shall identify and list all characteristics of each device exactly as scheduled herein.  Finishes shall be selected by the Architect unless scheduled otherwise.

- LINTELS

Provide lintels above all louvers as required.  Refer to the lintel schedule in Specification Section 201100.

- SELECTION

Refer to the Selections Scheduled on the Drawings.

END OF REGISTERS, GRILLES, DIFFUSERS & LOUVERS