SECTION 200200- SCOPE OF THE MECHANICAL WORK

- GENERAL

  - The Mechanical work for this Contract shall include all labor, materials, equipment, fixtures, excavation, backfill and related items required to completely install, test, place in service and deliver to the Owner the complete mechanical systems in accordance with the accompanying plans and all provisions of these specifications.  This work shall primarily include, but is not necessarily limited to the following:

    - Plumbing Systems.

    - All mechanical exhaust systems.

    - All insulation associated with mechanical systems.

    - Complete heating, ventilation and air conditioning systems.

    - Final connection of all mechanical equipment furnished by others (e.g., Kitchen).

    - Coordination with the State provided Test and Balance Contractor.

    - All applicable services and work specified in Section 200100; General Provisions - Mechanical.

    - All specified or required control work.

    - Provide all required motor starters, etc. not provided under the electrical sections.

    - One year guarantee of all mechanical equipment, materials and workmanship.

    - Thorough instruction of the owners maintenance personnel in the operation and maintenance of all mechanical equipment.

    - Thorough coordination of the installation of all piping, equipment and any other material with other trades to insure that no conflict in installation.

    - Approved supervision of the mechanical work.

    - Excavation, backfilling, cutting, patching, sleeving, concrete work, etc., required to construct the mechanical systems.

    - Prior to submitting a bid, the Contractor shall contact all serving utility companies to determine exactly what each utility company will provide and exactly what is required of the Contractor and shall include such requirements in his base bid.

    - Procurement of all required permits and inspections, including fees for all permits and inspection services and submission of final certificates of inspection to the Engineers (Plumbing, Boiler, etc.).

    - Factory start-up of all major equipment (including terminal HVAC equipment) and submission of associated factory start-up reports to the Engineer.

END OF SCOPE OF MECHANICAL WORK