SECTION 200300  - REQUIRED SHOP DRAWINGS, DESCRIPTIVE LITERATURE, MAINTENANCE MANUALS, PARTS LISTS, SPECIAL KEYS & TOOLS

- GENERAL

  - The Contractor's attention is directed also to the General and Special Conditions and Section 200100 - General Provisions - Mechanical as well as to all other Contract Documents as they may apply to his work.

  - The Contractor shall prepare and submit to the Engineer, through the General Contractor and the Architect (where applicable) within thirty (30) days after the date of the Contract, all shop drawings, certified equipment drawings, installation, operating and maintenance instructions, samples, wiring diagrams, etc. on all items of equipment specified hereinafter through Constructware.  In addition to the electronic submittal, hard copies of the Fire Protection drawings shall be submitted.

  - Submittal data shall include specification data including metal gauges, finishes, accessories, etc.  Also, the submittal data shall include certified performance data, wiring diagrams, dimensional data, and a spare parts list.  Submittal data shall be reviewed by the Engineer before any equipment or materials is ordered or any work is begun in the area requiring the equipment.

  - All submittal data shall have the stamp of approval of the Contractor submitting the data as well as the General Contractor and the Architect (if applicable) to show that the drawings have been reviewed by the Contractor.  Any drawings submitted without these stamps of approval may not be considered and will be returned for proper resubmission.

  - It shall be noted that review of shop drawings by the Engineer applies only to conformance with the design concept of the project and general compliance with the information given in the contract documents.  In all cases, the Contractor alone shall be responsible for furnishing the proper quantity of equipment and/or materials required, for seeing that all equipment fits the available space in a satisfactory manner and that piping, electrical and all other connections are suitably located.

  - The Engineers review of shop drawings, schedules or other required submittal data shall not relieve the Contractor from responsibility for: adaptability of the item to the project; compliance with applicable codes, rules, regulations and information that pertains to fabrication and installation; dimensions and quantities; electrical characteristics; and coordination of the work with all other trades involved in this project.   Any items that differ from the Drawings or Specifications shall be flagged by the Contractor so the Engineer will be sure to see the item.  Do not rely on the Engineer to “catch” items that do not comply with the Drawings or Specifications.  The Contractor is responsible for meeting the Drawings and Specification requirements, regardless of whether or not something does not get caught by the Contractor or Engineer during shop drawing reviews.

  - Equipment shall not be ordered and no final rough-in connections, etc., shall be accomplished until reviewed equipment shop drawings are in the hands of the Contractor.  It shall be the Contractor's responsibility to obtain reviewed shop drawings and to make all connections, etc. in the neatest and most workmanlike manner possible.  The Contractor shall coordinate with all the other trades having any connections, roughing-in, etc. to the equipment.

  - If the Contractor fails to comply with the requirements set forth above, the Engineer shall have the option of selecting any or all items listed in the Specifications or on the drawings; and the Contractor shall be required to furnish all materials in accordance with this list.

  - Colors for equipment in other than mechanical spaces shall be selected from the Manufacturer's standard and factory optional colors.  Color samples shall be furnished with the shop drawing submission for such equipment.

  - Shop Drawing Submittals

    - All submittals for HVAC equipment shall include all information specified.  This shall include air and water pressure drops, RPM, noise data, face velocities, horsepower, voltage motor type, steel or aluminum construction, and all accessories clearly marked.

    - All items listed in the schedules shall be submitted for review in a tabular form similar to the equipment schedule.

    - All items submitted shall be designated with the same identifying tag as specified on each sheet.

    - Any submittals received in an unorganized manner without options listed and with incomplete data will be returned for resubmittal.

    - All shop drawings shall include a separate sheet indicating that the submitted products comply with the project’s Buy American requirements.  Any submittal that does not include this documentation may be rejected.

- SHOP DRAWINGS

Shop Drawings, descriptive literature, technical data and required schedules shall be submitted on the following:

Duct Insulation

Pipe Insulation

Hydronic Specialties

(2)	Chemical Treatment System

(1)	Pumps and Circulators

(1)	Exhaust Fan

(1)	Registers, Diffusers, Grilles, Ductwork

(1)	Water Source Heat Pumps/Water to Water Heat Pumps

(1)	Air Handling Unit

(2)	Controls, Building Management System

(3)	Fire Protection System

(1)	Baseboard Heater

(1)	Sanitary Sewage Pump

Plumbing Fixtures

SPECIAL NOTES:

(1) 	Upon substantial completion of the project, the Contractor shall deliver to the Engineers (in addition to the required Shop Drawings) three (3) complete copies of operation and maintenance instructions and parts lists for each item marked (1) above.  These documents shall include at least:

(a) 	Detailed operating instructions

(b)	Detailed maintenance instructions including preventive maintenance schedules.

(c)	Addresses and phone numbers indicating where parts may be purchased.

(2)	Shop drawings for the Control Systems shall include detailed, scaled plans and schematic diagrams indicating the function and operation of the system.

(3)	Shop drawings for the Building Fire Protection System shall be prepared and stamped by a Certified Contractor and shall meet the criteria of the Department of Housing, Buildings and Construction and submitted to the Engineer.  After the Engineer's review, they shall be submitted by the Contractor to the proper state authorities along with the required State review fee.

(4)	The Contractor shall submit Material Safety Data sheets for all chemical treatment.

- SPECIAL WRENCHES, TOOLS, ETC.

    - The Contractor shall furnish, along with equipment provided, any special wrenches or tools necessary to dismantle or service equipment or appliances installed under the Contract.  Wrenches shall include necessary keys, handles and operators for valves, cocks, hydrants, etc.  A reasonable number of each shall be furnished.

END OF REQUIRED SHOP DRAWINGS